## Template (hidden)
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg

## January
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-01-01 | 1.79 | 2.4709 | 1.2146 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 1.3642 | 1.93 | 0.804 | 1.28 | 2.2728 | 0.29746 | 0.86 | 25.6305 | 86.3108 | 9.1069 | 732.6458
2026-01-02 | 1.68 | 2.2807 | 0.75493 | 0 | 3.4809e-05 | 0 | 0 | 0 | 0 | 1.68 | 1.2925 | 1.803 | 0.424 | 1.18 | 2.1175 | 0.25531 | 0.87 | 25.6605 | 89.3469 | 9.1346 | 739.9236
2026-01-03 | 1.65 | 2.4011 | 1.1087 | 0 | 1.1683e-05 | -9.799e-05 | 0 | 0 | 0 | 1.65 | 1.2441 | 1.895 | 0.699 | 1.15 | 2.2562 | 0.25908 | 0.85 | 26.1805 | 93.3051 | 9.2201 | 704.9831
2026-01-04 | 1.75 | 2.6837 | 1.1178 | 0 | 0 | -0.00022674 | 0 | 0 | 0 | 1.75 | 1.3077 | 2.126 | 0.569 | 1.25 | 5.0984 | 0.2625 | 0.89 | 27.2205 | 112.5665 | 9.1833 | 695.5614
2026-01-05 | 1.68 | 2.2417 | 1 | 0 | 2.2411e-05 | -0.00015163 | 0 | 0 | 0 | 1.68 | 1.2817 | 1.744 | 0.782 | 1.17 | 2.0941 | 0 | 0.91 | 27.3905 | 108.6911 | 9.1758 | 740.1236
2026-01-06 | 1.63 | 2.837 | 0 | 0.01 | 0.00044465 | -0.00016594 | 0.02 | 0.96415 | 0 | 1.66 | 1.2459 | 1.741 | 0 | 1.16 | 2.0472 | 0 | 0.94 | 27.2105 | 112.1349 | 9.286 | 755.8055
2026-01-07 | 1.77 | 2.3394 | 1.0134 | 0 | 0 | 0 | 0 | 0 | 0 | 1.77 | 1.3422 | 1.837 | 0.611 | 1.28 | 2.2071 | 0.26306 | 0.94 | 28.2006 | 112.2045 | 9.3037 | 762.3314
2026-01-08 | 1.63 | 1.929 | 0 | 0 | 0 | -0.00023222 | 0 | 0 | 0 | 1.63 | 1.2621 | 1.499 | 0.57 | 1.15 | 1.7647 | 0 | 0.95 | 27.7805 | 112.4551 | 9.3261 | 714.8492
2026-01-09 | 1.52 | 2.0185 | 0.65151 | 0 | 0 | -0.00016046 | 0 | 0 | 0 | 1.52 | 1.1468 | 2.195 | 0.345 | 1.03 | 1.7676 | 0.24763 | 0.94 | 29.1306 | 93.1222 | 9.2867 | 715.1961
2026-01-10 | 1.52 | 1.933 | 1.1227 | 0 | 0 | -0.00029469 | 0 | 0 | 0 | 1.52 | 1.1328 | 1.497 | 0.724 | 1.03 | 1.7606 | 0.26365 | 0.95 | 29.0306 | 90.3183 | 9.3211 | 717.0448
2026-01-11 | 1.84 | 2.5605 | 1.2717 | 0 | 0 | 0 | 0 | 0 | 0 | 1.84 | 1.385 | 1.997 | 1.052 | 1.34 | 2.154 | 0.53127 | 0.95 | 28.9606 | 106.5986 | 9.2774 | 689.14
2026-01-12 | 1.61 | 1.941 | 0.86673 | 0 | 0 | 0 | 0 | 0 | 0 | 1.61 | 1.2765 | 1.524 | 0.485 | 1.14 | 1.8193 | 0.25677 | 0.95 | 28.9006 | 93.2475 | 9.35 | 742.3809
2026-01-13 | 1.53 | 1.8809 | 0.93347 | 0 | 0 | 0 | 0 | 0 | 0 | 1.53 | 1.1606 | 1.461 | 0.563 | 1.03 | 1.7062 | 0.26165 | 0.93 | 28.9906 | 90.6493 | 9.2623 | 680.0962
2026-01-14 | 1.52 | 1.9973 | 0.69536 | 0 | 0 | 0 | 0 | 0 | 0 | 1.52 | 1.1367 | 1.541 | 0.361 | 1.03 | 1.7431 | 0.25019 | 0.94 | 29.8506 | 89.0324 | 9.2868 | 760.9663
2026-01-15 | 1.56 | 2.5692 | 0 | 0 | 0 | -0.00024462 | 0 | 0.24987 | 0 | 1.56 | 1.1867 | 2.019 | 0.692 | 1.07 | 2.1124 | 0 | 0.94 | 30.0506 | 82.74 | 9.3196 | 661.765
2026-01-16 | 1.53 | 2.1028 | 1.0689 | 0 | 0 | 0 | 0 | 0 | 0 | 1.53 | 1.1776 | 1.635 | 0.686 | 1.05 | 1.9222 | 0.25932 | 0.93 | 29.7406 | 75.0177 | 9.2265 | 755.0295
2026-01-17 | 1.43 | 1.9936 | 0.98788 | 0 | 0 | 0 | 0 | 0 | 0 | 1.43 | 1.0545 | 1.556 | 0.596 | 0.94 | 1.7578 | 0.25672 | 0.93 | 30.1706 | 70.5322 | 9.3008 | 684.3236
2026-01-18 | 1.46 | 2.3065 | 0.97761 | 0 | 0 | 0 | 0 | 0 | 0 | 1.46 | 1.0659 | 1.786 | 0.607 | 0.97 | 1.8225 | 0.25678 | 0.93 | 29.7106 | 71.4262 | 9.315 | 698.6006
2026-01-19 | 1.63 | 2.8312 | 0 | 0 | 0 | -0.00030899 | 0 | 0.96871 | 0 | 1.63 | 1.2088 | 2.016 | 0.504 | 1.14 | 4.4743 | 0 | 0.94 | 29.9806 | 83.749 | 9.2644 | 699.4848
2026-01-20 | 1.55 | 2.0012 | 0.62451 | 0 | 0 | -0.00024629 | 0 | 0 | 0 | 1.55 | 1.2004 | 1.543 | 0.381 | 1.05 | 3.4269 | 0 | 0.96 | 29.5506 | 78.2044 | 9.2611 | 700.2258
2026-01-21 | 1.42 | 1.7711 | 0.55467 | 0 | 0 | 0 | 0 | 0 | 0 | 1.42 | 1.0793 | 4.524 | 0.285 | 0.94 | 1.6506 | 0.24901 | 0.96 | 29.3206 | 79.0226 | 9.2652 | 722.4224
2026-01-22 | 1.47 | 1.8665 | 0.46865 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47 | 1.0822 | 1.428 | 0.615 | 0.97 | 1.5846 | 0.26189 | 0.97 | 30.0606 | 93.2509 | 9.3195 | 716.7068
2026-01-23 | 1.48 | 4.3589 | 0 | 0 | 0 | 0 | 0.01 | 0.97761 | 0 | 1.49 | 1.1898 | 6.012 | 0 | 1 | 2.0655 | 0.24705 | 0.98 | 29.4606 | 85.706 | 9.289 | 741.4949
2026-01-24 | 1.5 | 1.9744 | 1.0853 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 1.146 | 1.543 | 0.702 | 1.01 | 1.8291 | 0.25873 | 0.96 | 29.8106 | 95.2226 | 9.2548 | 725.3595
2026-01-25 | 1.47 | 1.9296 | 1.0252 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47 | 1.118 | 1.531 | 0.646 | 1 | 1.7869 | 0.25494 | 0.97 | 29.8606 | 91.3871 | 9.2837 | 750.0302
2026-01-26 | 1.62 | 2.1222 | 1.1667 | 0 | 0 | -0.00018215 | 0 | 0 | 0 | 1.62 | 1.1997 | 1.69 | 0.798 | 1.12 | 1.9293 | 0.29452 | 0.97 | 29.3306 | 83.811 | 9.303 | 660.093
2026-01-27 | 1.6 | 1.9865 | 1.1204 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6 | 1.2736 | 1.554 | 0.774 | 1.12 | 1.8542 | 0.29089 | 0.99 | 29.6806 | 81.8849 | 9.2632 | 725.6218
2026-01-28 | 1.48 | 1.9131 | 0.70216 | 0 | 0 | -0.00027871 | 0 | 0 | 0 | 1.48 | 1.1453 | 1.517 | 0.399 | 0.99 | 1.7938 | 0.24354 | 1 | 29.2206 | 85.9306 | 9.3433 | 694.0992
2026-01-29 | 1.46 | 4.372 | 0 | 0 | 0 | -0.00026083 | 0 | 0.2167 | 0 | 1.46 | 1.1398 | 6.536 | 0.137 | 0.97 | 2.0956 | 0 | 1 | 29.7206 | 88.3067 | 9.2763 | 704.2483
2026-01-30 | 1.43 | 1.8674 | 0.66933 | 0 | 0 | -0.00018024 | 0 | 0 | 0 | 1.43 | 1.1171 | 1.578 | 0.369 | 0.97 | 1.7763 | 0.24587 | 1 | 29.9306 | 89.2148 | 9.2946 | 724.8173

## February
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-02-01 | 1.54 | 2.4334 | 0.98474 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54 | 1.177 | 1.99 | 0.652 | 1.07 | 2.1944 | 0.26013 | 1 | 29.8106 | 94.0478 | 9.344 | 689.7734
2026-02-02 | 1.58 | 4.0709 | 0 | 0 | 0 | 0 | 0.01 | 1.0368 | 0 | 1.59 | 1.2796 | 4.155 | 0.092 | 1.13 | 2.2073 | 0.25583 | 1 | 29.2906 | 87.6452 | 9.3163 | 697.7653
2026-02-03 | 1.53 | 2.0344 | 0.7928 | 0 | 0 | -0.0002501 | 0 | 0 | 0 | 1.53 | 1.2052 | 1.644 | 0.461 | 1.06 | 1.8416 | 0.25725 | 0.99 | 29.5506 | 83.548 | 9.3423 | 654.8418
2026-02-04 | 1.5 | 1.8586 | 1.0829 | 0 | 0 | -0.00019455 | 0 | 0 | 0 | 1.5 | 1.17 | 1.484 | 0.762 | 1.02 | 1.7059 | 0.26533 | 1 | 29.6306 | 82.625 | 9.3388 | 667.3423
2026-02-05 | 1.46 | 1.9124 | 0.75586 | 0 | 0 | 0 | 0 | 0 | 0 | 1.46 | 1.1252 | 1.539 | 0.472 | 0.99 | 1.6641 | 0.25477 | 0.99 | 29.4006 | 81.8643 | 9.2516 | 685.5184
2026-02-06 | 1.45 | 2.37 | 0 | 0 | 0 | -0.00026083 | 0 | 0 | 0 | 1.45 | 1.1256 | 1.844 | 0.325 | 0.99 | 1.6733 | 0.2573 | 1 | 30.0706 | 77.7836 | 9.4141 | 652.4352
2026-02-07 | 1.55 | 1.9815 | 1.157 | 0 | 0 | 0 | 0 | 0 | 0 | 1.55 | 1.1865 | 1.614 | 0.838 | 1.08 | 1.8298 | 0.29684 | 1.01 | 30.4906 | 80.8189 | 9.3257 | 676.8235
2026-02-08 | 1.59 | 2.0918 | 1.204 | 0 | 0 | 0 | 0 | 0 | 0 | 1.59 | 1.2661 | 1.663 | 0.881 | 1.13 | 1.896 | 0.27479 | 0.99 | 29.3706 | 97.3177 | 9.3132 | 662.2098
2026-02-09 | 1.4 | 5.0277 | 0 | 0 | 0 | 0 | 0 | 0.92906 | 0 | 1.4 | 1.1256 | 4.478 | 0.076 | 0.94 | 2.0336 | 0.25474 | 1.02 | 29.6906 | 84.2202 | 9.3291 | 740.1481
2026-02-10 | 1.31 | 1.7406 | 0.74109 | 0 | 0 | -0.00012112 | 0 | 0 | 0 | 1.31 | 1.0226 | 1.375 | 0.476 | 0.86 | 1.5709 | 0.25196 | 1 | 29.4106 | 83.4148 | 9.334 | 654.5973
2026-02-11 | 1.32 | 1.7384 | 0.68046 | 0 | 0 | 0 | 0 | 0 | 0 | 1.32 | 1.0126 | 1.404 | 0.424 | 0.87 | 1.5902 | 0.25354 | 0.98 | 30.1006 | 79.1464 | 9.3079 | 688.2867
2026-02-12 | 1.33 | 2.7628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.33 | 1.028 | 1.809 | 0.482 | 0.87 | 1.6328 | 0.25366 | 0.99 | 30.2106 | 81.4146 | 9.3441 | 634.9203
2026-02-13 | 1.3 | 1.7215 | 0.64862 | 0 | 0 | -0.00021076 | 0 | 0 | 0 | 1.3 | 1.009 | 1.404 | 0.395 | 0.85 | 1.5784 | 0.25273 | 1 | 29.6806 | 76.5064 | 9.2907 | 667.8569
2026-02-14 | 1.33 | 2.3743 | 0 | 0 | 0 | -0.00031805 | 0 | 0 | 0 | 1.33 | 1.0139 | 1.849 | 0.397 | 0.86 | 1.668 | 0.25211 | 1.01 | 30.4606 | 77.6321 | 9.344 | 642.3776
2026-02-15 | 1.32 | 1.9516 | 0.61267 | 0 | 0 | -0.00027871 | 0 | 0 | 0 | 1.32 | 1.0115 | 1.562 | 0.453 | 0.87 | 1.7511 | 0.25197 | 1.01 | 30.0206 | 77.0923 | 9.3826 | 639.9788
2026-02-16 | 1.35 | 1.9942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.35 | 1.0991 | 6.062 | 0.176 | 0.88 | 1.7333 | 0.23807 | 1.01 | 30.1706 | 75.388 | 9.4032 | 642.8079
2026-02-17 | 1.35 | 1.9808 | 0 | 0 | 0 | -0.00026417 | 0 | 0 | 0 | 1.35 | 1.0984 | 5.831 | 0.27 | 0.98 | 1.8187 | 0.24011 | 1.05 | 29.5406 | 70.9182 | 9.3765 | 634.7469
2026-02-18 | 1.4 | 1.8931 | 0.73615 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4 | 1.105 | 1.537 | 0.575 | 1.12 | 2.1907 | 0.24986 | 1.09 | 15.8603 | 73.9769 | 9.3331 | 671.3351
2026-02-19 | 1.43 | 2.0737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.43 | 1.1432 | 1.65 | 0.65 | 1.04 | 1.7391 | 0 | 0.54 | 3.3 | 72.6238 | 9.3266 | 654.3314
2026-02-20 | 1.46 | 1.7952 | 0.6988 | 0 | 0 | -0.00034285 | 0 | 0 | 0 | 1.46 | 1.1646 | 1.482 | 0.429 | 1.04 | 1.7242 | 0.24817 | 0.84 | 1.64 | 74.8069 | 9.3542 | 683.5008
2026-02-21 | 1.67 | 2.2248 | 1.1466 | 0 | 0 | 0 | 0 | 0 | 0 | 1.67 | 1.3467 | 1.838 | 0.959 | 1.24 | 2.0754 | 0.43013 | 0.94 | 20.6404 | 80.8373 | 9.3985 | 688.6921
2026-02-22 | 1.63 | 2.0599 | 1.1312 | 0 | 0 | -0.00040936 | 0 | 0 | 0 | 1.63 | 1.3475 | 1.716 | 0.947 | 1.2 | 1.9205 | 0.34788 | 0.92 | 27.2105 | 88.6336 | 9.3124 | 639.8848
2026-02-23 | 2.11 | 4.5576 | 0 | 0 | 15 | -0.00016594 | 0.11 | 0.96871 | 0 | 2.22 | 1.7193 | 3.441 | 0 | 1.79 | 12 | 0 | 0.81 | 26.9905 | 73.4365 | 9.2907 | 667.7327
2026-02-24 | 2.06 | 5.7082 | 0 | 0 | 0.00050545 | -0.00024104 | 0 | 0.00051153 | 0 | 2.06 | 1.5969 | 3.696 | 0.633 | 1.61 | 11.5782 | 0 | 0.62 | 22.3104 | 87.0447 | 9.2658 | 664.3581
2026-02-25 | 1.64 | 2.0245 | 1.2473 | 0 | 0 | -0.00022149 | 0 | 0 | 0 | 1.64 | 1.3646 | 1.631 | 0.933 | 1.22 | 1.8793 | 0.35469 | 0.72 | 16.9903 | 83.2784 | 9.3678 | 672.5147
2026-02-26 | 1.46 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.46 | 1.297 | 1.899 | 0.808 | 1.19 | 1.8655 | 0 | 0.84 | 17.8503 | 84.0607 | 9.2667 | 710.0892
2026-02-27 | 1.28 | 1.7377 | 0.77534 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28 | 1.3646 | 1.723 | 0.864 | 1.23 | 1.9167 | 0 | 0.86 | 16.6103 | 81.5928 | 9.3479 | 716.2051
02-31-2026 | 1.42 | 2.0635 | 0.96282 | 0 | 0 | 0 | 0 | 0 | 0 | 1.42 | 1.1068 | 1.654 | 0.634 | 0.97 | 1.8136 | 0.25921 | 1 | 29.4506 | 94.4526 | 9.3022 | 687.1597

## March
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-03-01 | 1.57 | 2.4302 | 0.79442 | 0 | 0 | 0 | 0 | 0 | 0 | 1.57 | 1.5579 | 2.197 | 0.561 | 1.5 | 2.3499 | 0.38 | 0.9 | 15.3003 | 96.4959 | 9.2918 | 678.0277
2026-03-02 | 1.4 | 1.8778 | 0.77555 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4 | 1.5063 | 1.9 | 0.988 | 1.34 | 2.0139 | 0.39944 | 0.89 | 15.2203 | 85.7971 | 9.3547 | 741.1863
2026-03-03 | 1 | 2 | 0.83665 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.393 | 1.848 | 0.95 | 1 | 2 | 0 | 0 | 15 | 84.5817 | 9.1219 | 677.7378
2026-03-04 | 2.32 | 2.707 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.32 | 1.845 | 2.217 | 0.569 | 1.87 | 2.347 | 1 | 0.94 | 13.1702 | 101.4869 | 9.1796 | 667.9655
2026-03-05 | 2.23 | 3.0983 | 0 | 0 | 0 | 0 | 0.09 | 0.99207 | 0 | 2.32 | 2.0288 | 4.513 | 0 | 1.89 | 5.1542 | 0 | 0.9 | 10.3201 | 95.1891 | 9.3107 | 680.9967
2026-03-06 | 3.19 | 4.9086 | 2.4286 | 0 | 0 | -0.00034285 | 0.67 | 0.96968 | 0 | 3.86 | 2.6776 | 3.961 | 0.564 | 3.14 | 5.1464 | 1.0014 | 1.1 | 5.28 | 150.6209 | 9.3401 | 680.7875
2026-03-07 | 3.07 | 4.9361 | 2.549 | 0 | 0 | -0.00025535 | 0.86 | 0.96198 | 0 | 3.93 | 3.2919 | 3.952 | 1.898 | 3.45 | 5.1462 | 1.6715 | 1.38 | 2.96 | 149.9141 | 9.3072 | 680.0576
2026-03-08 | 3.83 | 4.1579 | 3.4486 | 0 | 0 | 0 | 0.94 | 0.95456 | 0.92094 | 4.77 | 3.9745 | 4.405 | 3.669 | 4.3 | 4.8924 | 3.6128 | 1.39 | 1.79 | 203.6658 | 9.2721 | 651.7671
2026-03-09 | 2.9 | 4.5412 | 2.705 | 0 | 0 | -0.00044346 | 0.94 | 0.94588 | 0.9167 | 3.84 | 3.3736 | 3.958 | 2.972 | 3.37 | 5.145 | 1.703 | 1.32 | 2.82 | 208.1749 | 9.2038 | 640.6622
2026-03-10 | 2.78 | 5.8497 | 0 | 0 | 15 | -0.00031066 | 0.41 | 1.0461 | 0 | 3.19 | 2.7089 | 4.809 | 0.655 | 2.72 | 12 | 0 | 0.95 | 3.01 | 144.3898 | 9.2556 | 648.0245
2026-03-11 | 2.3 | 2.6569 | 1.7649 | 0 | 0 | -0.00034475 | 0.46 | 0.46732 | 0.45327 | 2.76 | 2.306 | 2.62 | 0.579 | 2.31 | 5.1374 | 1.6257 | 0.63 | 1 | 119.2572 | 9.4492 | 644.2711
2026-03-12 | 2.29 | 2.7505 | 1.9152 | 0 | 0 | 0 | 0.46 | 0.46767 | 0.45146 | 2.75 | 2.2465 | 2.691 | 0.603 | 2.31 | 5.1308 | 1.6498 | 1.05 | 0 | 119.9068 | 9.2405 | 643.9416
2026-03-13 | 2.12 | 2.7747 | 0 | 0 | 0 | -0.0003233 | 0.21 | 0.94208 | 0 | 2.33 | 1.9483 | 2.426 | 0.792 | 1.9 | 5.0849 | 0 | 1.35 | 0 | 121.3959 | 8.6041 | 610.8346
2026-03-14 | 2.16 | 2.6494 | 1.7453 | 0 | 0 | 0 | 0 | 0 | 0 | 2.16 | 1.7884 | 2.172 | 1.43 | 1.71 | 2.2414 | 1.2223 | 1.17 | 0 | 106.3409 | 8.3476 | 612.3781
2026-03-15 | 1.98 | 2.4433 | 1.4579 | 0 | 0 | 0 | 0 | 0 | 0 | 1.98 | 1.6162 | 2.009 | 1.163 | 1.53 | 2.0736 | 0.93089 | 0.97 | 0 | 97.5088 | 8.1357 | 610.2921
2026-03-16 | 2.39 | 3.084 | 1 | 0 | 0 | 0 | 0.05 | 0.97938 | 0 | 2.44 | 1.8421 | 3.25 | 1.131 | 1.99 | 5.1635 | 0 | 1.19 | 0 | 110.929 | 7.9845 | 636.1144
2026-03-17 | 2.77 | 5.1038 | 0 | 0 | 0 | 0 | 0.58 | 0.98321 | 0 | 3.35 | 2.8459 | 3.691 | 0.603 | 2.91 | 5.1644 | 1.6319 | 1.23 | 0 | 131.2466 | 8.1317 | 651.7601
2026-03-18 | 2.28 | 2.775 | 1.323 | 0 | 0 | -0.00055599 | 0.27 | 0.9227 | 0 | 2.55 | 1.7867 | 2.342 | 0.557 | 2.09 | 5.1621 | 1.6016 | 1.07 | 12.2502 | 134.3087 | 8.1342 | 611.4308
2026-03-19 | 2.35 | 2.7665 | 0.9661 | 0 | 0 | 0 | 0 | 0 | 0 | 2.35 | 1.4876 | 2.27 | 0.522 | 1.85 | 2.1975 | 0 | 1.03 | 64.2253 | 103.61 | 8.0372 | 650.9719
2026-03-20 | 2.21 | 2.4879 | 1.554 | 0 | 0 | 0 | 0 | 0 | 0 | 2.21 | 1.6306 | 2.006 | 0.54 | 1.73 | 2.2783 | 1.0379 | 1.1 | 28.3606 | 93.3983 | 8.2246 | 657.4456
2026-03-21 | 2.23 | 2.6693 | 1.8431 | 0 | 0 | 0 | 0 | 0 | 0 | 2.23 | 1.6484 | 2.201 | 0.509 | 1.75 | 2.349 | 0.98317 | 1.09 | 28.0305 | 86.0088 | 8.5871 | 713.9605
2026-03-22 | 2.22 | 2.5956 | 1.7508 | 0 | 0 | 0 | 0 | 0 | 0 | 2.22 | 1.4924 | 2.076 | 0.511 | 1.74 | 2.3436 | 0.85752 | 1.07 | 28.4106 | 110.4353 | 8.2967 | 707.3442
2026-03-23 | 2.55 | 2.996 | 2.0771 | 0 | 0 | 0 | 0.59 | 0.93051 | 0 | 3.14 | 1.9536 | 3.077 | 0.553 | 2.67 | 5.1688 | 1.2527 | 0.99 | 21.6104 | 143.2253 | 8.1298 | 729.0184
2026-03-24 | 2.32 | 4.8051 | 0 | 0 | 0 | -0.00071359 | 0.73 | 0.97835 | 0 | 3.05 | 1.8159 | 4.15 | 0.568 | 2.59 | 5.1618 | 1.5878 | 0.98 | 13.1902 | 146.4347 | 8.0124 | 743.4289
2026-03-25 | 1.57 | 2.7486 | 1.1296 | 0 | 0 | -0.00039315 | 0.85 | 0.92871 | 0 | 2.42 | 1.6167 | 2.492 | 0.538 | 1.96 | 5.1297 | 1.2893 | 1.08 | 12.9502 | 120.1478 | 7.9967 | 755.784
2026-03-26 | 1.98 | 2.6955 | 0.85598 | 0 | 0 | 0 | 0.26 | 0.92313 | 0 | 2.24 | 1.69 | 2.236 | 0.532 | 1.77 | 5.0596 | 0.95039 | 1.01 | 13.1802 | 105.8574 | 8.4245 | 746.5941
2026-03-27 | 2.12 | 2.5311 | 1.5523 | 0 | 0 | 0 | 0 | 0 | 0 | 2.12 | 1.7031 | 2.046 | 0.564 | 1.62 | 2.3187 | 0.91908 | 1.02 | 11.3302 | 103.867 | 9.2865 | 672.3407
2026-03-28 | 1.98 | 2.4639 | 1.4843 | 0 | 0 | -0.00067592 | 0 | 0 | 0 | 1.98 | 1.5877 | 1.994 | 0.529 | 1.49 | 2.2241 | 0.61699 | 0.97 | 9.0001 | 95.9791 | 9.4049 | 670.4936
2026-03-29 | 1.91 | 2.4251 | 1.3441 | 0 | 0 | 0 | 0 | 0 | 0 | 1.91 | 1.5277 | 1.957 | 1.004 | 1.42 | 2.1791 | 0.5013 | 0.87 | 8.5601 | 95.0507 | 9.4999 | 674.0778
2026-03-30 | 1.79 | 4.322 | 0 | 0 | 0 | -0.00048089 | 0.01 | 0.92708 | 0 | 1.8 | 1.4876 | 4.961 | 0.109 | 1.3 | 5.277 | 0.26155 | 0.97 | 8.3501 | 97.767 | 9.5129 | 668.1599

## April
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-04-01 | 1.77 | 2.0527 | 1.0251 | 0 | 0 | 0 | 0 | 0 | 0 | 1.77 | 1.4253 | 1.675 | 0.67 | 1.29 | 1.7827 | 0.3264 | 1.07 | 12.2202 | 90.1911 | 9.6399 | 672.9499
2026-04-02 | 1.49 | 2.3535 | 0 | 0 | 0 | -0.00069571 | 0.45 | 0.92752 | 0 | 1.94 | 1.5524 | 2.082 | 0.543 | 1.46 | 2.1046 | 0 | 1.05 | 13.1802 | 91.9325 | 9.5525 | 676.7655
2026-04-03 | 1.67 | 2.3524 | 0.49622 | 0 | 0 | -0.00066519 | 0.28 | 0.92381 | 0 | 1.95 | 1.5622 | 1.893 | 0.827 | 1.46 | 2.1021 | 0.42499 | 0.96 | 12.2602 | 93.3665 | 9.4885 | 667.4138
2026-04-04 | 1.85 | 2.2124 | 1.4422 | 0 | 0 | -0.00042725 | 0 | 0 | 0 | 1.85 | 1.4959 | 1.787 | 1.106 | 1.37 | 1.9252 | 0.64463 | 0.81 | 12.5302 | 93.0464 | 9.7584 | 650.2055
2026-04-05 | 1.94 | 2.4266 | 1.2223 | 0 | 0 | 0 | 0 | 0.9257 | 0 | 1.94 | 1.538 | 2.119 | 0.612 | 1.46 | 2.1147 | 0.6711 | 0.79 | 13.1102 | 97.506 | 9.7385 | 670.5508
2026-04-06 | 1.82 | 2.2056 | 1.2787 | 0 | 0 | -0.00039315 | 0 | 0 | 0 | 1.82 | 1.4829 | 1.781 | 0.927 | 1.34 | 1.9379 | 0.45166 | 0.97 | 13.0202 | 98.8806 | 9.9041 | 669.3618
2026-04-07 | 1.66 | 2.0029 | 1.2965 | 0 | 0 | 0 | 0 | 0 | 0 | 1.66 | 1.3332 | 1.595 | 0.942 | 1.33 | 2.2542 | 0.44794 | 0.94 | 12.0602 | 90.2094 | 9.9803 | 667.7178
2026-04-08 | 1.59 | 1.9609 | 1.1882 | 0 | 0 | -0.00072432 | 0 | 0 | 0 | 1.59 | 1.2476 | 1.597 | 0.815 | 1.22 | 2.1806 | 0.27263 | 0.94 | 12.9202 | 86.7406 | 10.2117 | 648.8991
2026-04-09 | 1.35 | 2.7614 | 0 | 0 | 0 | 0 | 0.17 | 0.92667 | 0 | 1.52 | 1.3773 | 5.355 | 0 | 1.03 | 5.1353 | 0 | 0.8 | 14.9602 | 83.7515 | 9.849 | 678.425
2026-04-10 | 1.53 | 1.9173 | 1.0897 | 0 | 0 | 0 | 0 | 0 | 0 | 1.53 | 1.1847 | 1.527 | 0.711 | 1.02 | 1.6867 | 0.26216 | 0.92 | 18.7403 | 81.6348 | 9.5979 | 655.208
2026-04-11 | 1.54 | 2.0057 | 1.064 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54 | 1.187 | 1.602 | 0.683 | 1.02 | 1.7563 | 0.25762 | 0.9 | 20.8404 | 80.9633 | 9.6132 | 642.8229
2026-04-12 | 1.54 | 1.9842 | 0.99035 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54 | 1.1762 | 1.601 | 0.641 | 1.02 | 1.7752 | 0.25615 | 0.89 | 20.5204 | 85.4988 | 9.683 | 650.1704
2026-04-13 | 1.46 | 1.8363 | 0.73079 | 0 | 0 | -0.00062585 | 0 | 0 | 0 | 1.46 | 1.1284 | 1.682 | 0.426 | 0.96 | 1.6338 | 0.25565 | 0.9 | 21.4104 | 86.8663 | 9.5516 | 652.0112
2026-04-14 | 1.47 | 1.9002 | 0.77384 | 0 | 0 | -0.00040412 | 0 | 0 | 0 | 1.47 | 1.1283 | 1.534 | 0.448 | 0.96 | 1.6172 | 0.25193 | 0.9 | 20.9504 | 85.5693 | 9.6958 | 657.8744
2026-04-15 | 1.58 | 1.9949 | 1.0934 | 0 | 0 | 0 | 0 | 0 | 0 | 1.58 | 1.2203 | 1.592 | 0.729 | 0.88 | 1.6576 | 0.26292 | 0.89 | 23.4004 | 78.5524 | 9.5253 | 664.9465
2026-04-16 | 1.74 | 2.1337 | 1.3004 | 0 | 0 | 0 | 0 | 0 | 0 | 1.74 | 1.3331 | 1.715 | 0.936 | 1.21 | 2.2378 | 0.25596 | 0.97 | 27.0505 | 85.0129 | 9.6008 | 671.4385
2026-04-17 | 1.79 | 2.215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 1.4021 | 1.771 | 0.692 | 1.4 | 4.8343 | 0 | 1.01 | 29.7906 | 86.3655 | 9.6538 | 684.5476
2026-04-18 | 1.85 | 2.3623 | 1.3207 | 0 | 0 | 0 | 0 | 0 | 0 | 1.85 | 1.4519 | 1.882 | 0.956 | 1.29 | 1.9476 | 0.37462 | 1 | 27.9305 | 84.9701 | 9.7802 | 667.0553
2026-04-19 | 2.01 | 2.4727 | 1.5439 | 0 | 0 | -0.00053096 | 0 | 0 | 0 | 2.01 | 1.5734 | 2.011 | 0.646 | 1.46 | 2.0778 | 0.59608 | 0.97 | 29.2006 | 83.3874 | 9.8437 | 674.0035
2026-04-20 | 1.86 | 5.3172 | 0 | 0 | 0 | 0 | 0.01 | 0.98734 | 0 | 1.87 | 1.4926 | 3.665 | 0.077 | 1.32 | 5.1079 | 0.25545 | 0.93 | 29.1806 | 84.7879 | 9.8876 | 681.0762
2026-04-21 | 1.64 | 4.8586 | 0 | 0 | 0 | 0 | 0.03 | 0.99986 | 0 | 1.67 | 1.6327 | 3.934 | 0 | 1.22 | 5.169 | 0 | 0.7 | 23.7304 | 83.7411 | 9.9848 | 647.0097
2026-04-22 | 1.64 | 4.2895 | 0 | 0 | 0 | 0 | 0.02 | 1.005 | 0 | 1.66 | 1.2775 | 2.646 | 0.293 | 1.12 | 2.0237 | 0.25872 | 0.91 | 31.2206 | 78.2014 | 9.847 | 675.1646
2026-04-23 | 1.65 | 2.0643 | 0.48878 | 0 | 0 | -0.00040412 | 0 | 0 | 0 | 1.65 | 1.2618 | 1.648 | 0.756 | 1.1 | 1.7661 | 0 | 0.86 | 31.0506 | 80.0299 | 9.8152 | 670.6406
2026-04-24 | 1.65 | 2.0672 | 1.1632 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65 | 1.2748 | 1.643 | 0.771 | 1.11 | 1.8076 | 0.26454 | 0.84 | 31.8306 | 81.326 | 9.6994 | 689.4419
2026-04-25 | 1.62 | 2.1108 | 1.1202 | 0 | 0 | 0 | 0 | 0 | 0 | 1.62 | 1.2555 | 1.698 | 0.721 | 1.07 | 1.8217 | 0.25334 | 0.86 | 31.2506 | 78.2261 | 9.6187 | 722.8623
2026-04-26 | 1.62 | 2.1813 | 1.0922 | 0 | 0 | -0.00072432 | 0 | 0 | 0 | 1.62 | 1.2416 | 1.735 | 0.719 | 1.08 | 1.8635 | 0.2533 | 0.87 | 31.1506 | 85.85 | 9.8549 | 664.8357
2026-04-27 | 1.55 | 1.9968 | 0.72081 | 0 | 0 | -0.00040746 | 0 | 0 | 0 | 1.55 | 1.2023 | 1.6 | 0.393 | 1 | 1.7212 | 0.25281 | 0.84 | 31.5006 | 87.1667 | 9.6981 | 671.1053
2026-04-28 | 1.54 | 4.2116 | 0 | 0 | 0 | 0 | 0 | 0.95684 | 0 | 1.54 | 1.215 | 4.167 | 0.143 | 1.01 | 2.0071 | 0 | 0.82 | 30.7506 | 79.9023 | 9.8123 | 662.7296
2026-04-29 | 1.61 | 2.035 | 0.75383 | 0 | 0 | 0 | 0 | 0 | 0 | 1.61 | 1.2624 | 1.63 | 0.42 | 1.07 | 5.1227 | 0.26255 | 0.73 | 31.3806 | 79.5872 | 9.7628 | 679.9735
04-31-2026 | 1.77 | 4.2143 | 0 | 0 | 0 | -0.00056505 | 0 | 1.0206 | 0 | 1.77 | 1.4408 | 4.52 | 0.102 | 1.29 | 2.2203 | 0.25747 | 1.07 | 8.9601 | 89.6607 | 9.5273 | 675.6056

## May
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-05-01 | 1.65 | 1.9972 | 0.78349 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65 | 1.3154 | 1.603 | 0.479 | 1.12 | 1.7402 | 0.25534 | 0.77 | 30.8206 | 78.9046 | 9.368 | 691.4237
2026-05-02 | 1.61 | 2.0364 | 1.1841 | 0 | 0 | -0.00042892 | 0 | 0 | 0 | 1.61 | 1.2646 | 1.621 | 0.831 | 1.1 | 1.7515 | 0.27032 | 0.99 | 30.6706 | 79.9834 | 9.842 | 658.4981
2026-05-03 | 1.61 | 2.031 | 1.1744 | 0 | 0 | -0.00038934 | 0 | 0 | 0 | 1.61 | 1.2443 | 1.628 | 0.828 | 1.09 | 1.7641 | 0.26373 | 0.98 | 30.2006 | 81.137 | 9.9342 | 641.5132
2026-05-04 | 1.48 | 1.8724 | 1.1727 | 0 | 0 | -0.00038934 | 0 | 0 | 0 | 1.48 | 1.1662 | 1.471 | 0.819 | 0.97 | 1.5301 | 0.27088 | 0.96 | 29.7406 | 82.4389 | 9.854 | 611.2628
2026-05-05 | 1 | 2.097 | 0 | 0 | 0 | 0 | 0 | 0.95366 | 0 | 1 | 1.0927 | 1.444 | 0.481 | 0 | 1.4702 | 0 | 0 | 29 | 79.1805 | 9.3595 | 622.8509
2026-05-06 | 1.41 | 1.6824 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.41 | 1.0707 | 1.428 | 0.392 | 0.89 | 1.4273 | 0 | 0.97 | 29.3906 | 77.212 | 8.9793 | 719.512
2026-05-07 | 1.45 | 1.8805 | 1 | 0 | 0 | -0.00039482 | 0 | 0 | 0 | 1.45 | 1.106 | 1.521 | 0.656 | 0.92 | 1.5586 | 0 | 1 | 28.5406 | 79.7075 | 9.2343 | 673.9777
2026-05-08 | 1.41 | 1.8168 | 0.69344 | 0 | 0 | -0.0002749 | 0 | 0 | 0 | 1.41 | 1.081 | 1.438 | 0.385 | 0.9 | 1.5967 | 0.25202 | 0.97 | 28.8506 | 80.9567 | 9.6856 | 634.2596
2026-05-09 | 1.42 | 2.177 | 0.5489 | 0 | 0 | 0 | 0 | 0 | 0 | 1.42 | 1.0653 | 1.774 | 0.439 | 0.91 | 1.6069 | 0.25399 | 0.95 | 28.9706 | 80.0687 | 9.7513 | 577.1119
2026-05-10 | 1.47 | 2.0331 | 0.94219 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47 | 1.1134 | 1.65 | 0.57 | 0.94 | 1.6573 | 0.25429 | 0.98 | 27.3305 | 86.4838 | 9.3939 | 572.3308
2026-05-11 | 1.37 | 1.8493 | 0.44621 | 0 | 0 | -0.00032878 | 0 | 0 | 0 | 1.37 | 1.0514 | 5.544 | 0 | 0.86 | 1.564 | 0.24168 | 0.99 | 27.2505 | 87.6876 | 8.6576 | 652.3625
2026-05-12 | 1.35 | 1.842 | 0.5535 | 0 | 0 | 0 | 0 | 0 | 0 | 1.35 | 0.99702 | 4.089 | 0.303 | 0.83 | 1.608 | 0.25195 | 0.98 | 27.5605 | 81.4465 | 9.5177 | 580.0949
2026-05-13 | 1.35 | 1.759 | 0.87523 | 0 | 0 | -0.00033927 | 0 | 0 | 0 | 1.35 | 1.003 | 1.363 | 0.518 | 0.84 | 1.556 | 0.24714 | 0.97 | 26.4005 | 76.2618 | 11.0568 | 744.8871
2026-05-14 | 1.46 | 2.0966 | 0.78425 | 0 | 0 | -0.00025177 | 0 | 0 | 0 | 1.46 | 1.0483 | 1.648 | 0.515 | 0.92 | 1.814 | 0 | 0.99 | 24.8905 | 79.5932 | 9.2124 | 677.8869
2026-05-15 | 1.6 | 2.1131 | 0.63264 | 0 | 0 | -0.00030541 | 0 | 0 | 0 | 1.6 | 1.2338 | 4.82 | 0.26 | 1.06 | 1.871 | 0.24799 | 0.99 | 24.0405 | 80.879 | 9.4152 | 644.857
2026-05-16 | 1.63 | 2.0777 | 1.1267 | 0 | 0 | 0 | 0 | 0 | 0 | 1.63 | 1.2479 | 1.646 | 0.728 | 1.09 | 1.8613 | 0.26229 | 0.99 | 24.6505 | 80.1778 | 9.4737 | 614.7746
2026-05-17 | 1.67 | 2.1176 | 1.1856 | 0 | 0 | -0.00034833 | 0 | 0 | 0 | 1.67 | 1.2854 | 1.656 | 0 | 1.13 | 1.8264 | 0.26748 | 1 | 25.8505 | 84.6671 | 9.571 | 516.7711
2026-05-18 | 1.63 | 1.9779 | 0.80568 | 0 | 0 | 0 | 0 | 0 | 0 | 1.63 | 1.262 | 1.568 | 0.447 | 1.09 | 1.7003 | 0.26947 | 0.99 | 26.2605 | 85.9208 | 9.0971 | 518.1084
2026-05-19 | 1.64 | 1.8989 | 0.81596 | 0 | 0 | -0.00050783 | 0 | 0 | 0 | 1.64 | 1.1655 | 1.469 | 0 | 1.1 | 1.6384 | 0.26055 | 1 | 25.9505 | 77.6525 | 9.0318 | 497.5254
2026-05-20 | 1.63 | 1.9155 | 1.0505 | 0 | 0 | -0.00052571 | 0 | 0 | 0 | 1.63 | 0 | 0 | 0 | 1.11 | 1.6997 | 0.36786 | 1.01 | 26.8805 | 77.6024 | 9.83 | 590.3601
2026-05-21 | 1.58 | 1.9378 | 0.53117 | 0 | 0 | -0.0005219 | 0 | 0 | 0 | 1.58 | 0 | 0 | 0 | 1.05 | 1.7436 | 0.26617 | 1.01 | 25.5705 | 78.1536 | 9.9108 | 717.8136
2026-05-22 | 1.5 | 1.9322 | 0.88706 | 0 | 0 | -0.00045753 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.96 | 1.7243 | 0.25628 | 1.03 | 25.7205 | 76.5451 | 9.8417 | 640.7473
2026-05-23 | 1.49 | 1.9296 | 1.0069 | 0 | 0 | -0.0004487 | 0 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0.95 | 1.7157 | 0.25605 | 1.03 | 26.0505 | 78.2835 | 9.3646 | 605.7748
2026-05-24 | 1.54 | 2.0273 | 0.92897 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54 | 0 | 0 | 0 | 1 | 1.7865 | 0.25089 | 1.04 | 26.0905 | 81.1307 | 9.7754 | 518.1047
2026-05-25 | 1.61 | 2.2116 | 0.44216 | 0 | 0 | 0 | 0 | 0 | 0 | 1.61 | 0 | 0 | 0 | 1.08 | 1.9092 | 0.25683 | 1.02 | 25.8905 | 86.2828 | 9.8762 | 664.6277
2026-05-26 | 1.5 | 1.9583 | 0.59646 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.96 | 1.6998 | 0.2548 | 1.02 | 25.3005 | 87.2779 | 9.9788 | 702.6184
2026-05-27 | 1.49 | 1.9323 | 0.4416 | 0 | 0 | -0.00036788 | 0 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0.97 | 1.7353 | 0.24402 | 1.03 | 24.0305 | 75.9815 | 10.0763 | 682.9065
2026-05-28 | 1.51 | 1.9736 | 0 | 0 | 0 | -0.00037527 | 0 | 0 | 0 | 1.51 | 0 | 0 | 0 | 1 | 4.9623 | 0 | 1.03 | 23.2204 | 76.7165 | 9.9278 | 667.6179
2026-05-29 | 1.52 | 1.8879 | 0.65992 | 0 | 0 | -0.00048089 | 0 | 0 | 0 | 1.52 | 0 | 0 | 0 | 0.98 | 1.7058 | 0.24717 | 1.02 | 23.3704 | 80.7749 | 9.6713 | 681.9457
2026-05-30 | 1.81 | 2.6998 | 1.1251 | 0 | 0 | -0.00048804 | 0 | 0 | 0 | 1.81 | 0 | 0 | 0 | 1.28 | 2.3223 | 0.26031 | 1 | 24.1305 | 83.2134 | 10.1973 | 665.5928

## June
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-06-01 | 1.65 | 1.9003 | 0.94969 | 0 | 0 | -0.00026083 | 0 | 0 | 0 | 1.65 | 0 | 0 | 0 | 1.12 | 1.7229 | 0.25373 | 0.96 | 24.0905 | 84.2426 | 10.0335 | 628.0682
2026-06-02 | 1.55 | 1.8992 | 0.69446 | 0 | 0 | 0 | 0 | 0 | 0 | 1.55 | 0 | 0 | 0 | 1.02 | 1.6455 | 0.26739 | 0.94 | 24.4105 | 81.3791 | 9.7008 | 714.0527
2026-06-03 | 1.5 | 1.8226 | 0.7879 | 0 | 0 | -0.00035906 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.96 | 1.6075 | 0.27075 | 0.96 | 23.8104 | 78.1119 | 9.2447 | 710.0078
2026-06-04 | 1.48 | 1.8718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.48 | 0 | 0 | 0 | 0.94 | 1.5934 | 0 | 0.93 | 24.1005 | 80.946 | 10.7292 | 639.9438
2026-06-05 | 1.45 | 1.8224 | 0.43249 | 0 | 0 | -0.00054717 | 0 | 0 | 0 | 1.45 | 0 | 0 | 0 | 0.93 | 1.5634 | 0.25915 | 0.97 | 23.7804 | 83.4107 | 9.9642 | 697.9472
2026-06-06 | 1.5 | 1.8781 | 0.8732 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.96 | 1.6359 | 0.25745 | 0.99 | 23.7104 | 78.2155 | 9.3393 | 681.9118
2026-06-07 | 1.55 | 1.9695 | 1.0413 | 0 | 0 | -0.00067973 | 0 | 0 | 0 | 1.55 | 0 | 0 | 0 | 1.01 | 1.7186 | 0.25608 | 1.02 | 23.0504 | 85.8554 | 9.5533 | 606.2702
2026-06-08 | 1.44 | 1.8613 | 0.77705 | 0 | 0 | -0.00061679 | 0 | 0 | 0 | 1.44 | 0 | 0 | 0 | 0.91 | 1.6133 | 0.2468 | 1 | 24.2105 | 87.6423 | 9.8441 | 625.3137
2026-06-09 | 1.39 | 1.7815 | 0.55407 | 0 | 0 | 0 | 0 | 0 | 0 | 1.39 | 0 | 0 | 0 | 0.86 | 1.5817 | 0.25201 | 1.03 | 24.9805 | 79.0264 | 9.9358 | 709.5263
2026-06-10 | 1.42 | 2.1804 | 0 | 0 | 0 | 0 | 0 | 0.81921 | 0 | 1.42 | 0 | 0 | 0 | 0.86 | 1.9086 | 0 | 1.03 | 24.3505 | 75.5307 | 9.9199 | 683.481
2026-06-11 | 1.5 | 2.161 | 0.42054 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.93 | 1.5901 | 0 | 1.06 | 23.6104 | 75.5406 | 9.9862 | 685.3721
2026-06-12 | 1.58 | 2.3171 | 1.0268 | 0 | 0 | -0.00078321 | 0 | 0 | 0 | 1.58 | 0 | 0 | 0 | 1.02 | 1.7455 | 0.50024 | 1.07 | 23.6104 | 75.949 | 9.2654 | 720.9771
2026-06-13 | 1.69 | 2.4303 | 1.0794 | 0 | 0 | 0 | 0 | 0 | 0 | 1.69 | 0 | 0 | 0 | 1.14 | 1.8362 | 0.52398 | 1.04 | 24.3305 | 74.9557 | 9.2447 | 678.1109
2026-06-14 | 1.79 | 2.5079 | 1.1051 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 0 | 0 | 0 | 1.24 | 1.9313 | 0.62358 | 1.05 | 24.3305 | 78.2006 | 9.8704 | 620.3176
2026-06-15 | 1.81 | 2.6179 | 0.77695 | 0 | 0 | -0.00081897 | 0 | 0 | 0 | 1.81 | 0 | 0 | 0 | 1.27 | 2.2223 | 0 | 1.04 | 24.7505 | 79.3663 | 8.715 | 708.1198
2026-06-16 | 1.86 | 2.5747 | 1.1779 | 0 | 0 | -0.00075293 | 0 | 0 | 0 | 1.86 | 0 | 0 | 0 | 1.31 | 2.006 | 0.51436 | 1.05 | 24.5505 | 77.5805 | 8.3351 | 733.494
2026-06-17 | 1.83 | 2.3264 | 1.0999 | 0 | 0 | 0 | 0 | 0 | 0 | 1.83 | 0 | 0 | 0 | 1.28 | 1.7501 | 0.59321 | 1.05 | 24.3005 | 74.018 | 8.9117 | 700.6237
2026-06-18 | 1.84 | 4.8673 | 0 | 0 | 0 | 0 | 0 | 0.237 | 0 | 1.84 | 0 | 0 | 0 | 1.29 | 2.0357 | 0 | 1.08 | 24.0305 | 76.1796 | 10.8454 | 632.8674
2026-06-19 | 1.84 | 2.212 | 1.2389 | 0 | 0 | 0 | 0 | 0 | 0 | 1.84 | 0 | 0 | 0 | 1.32 | 1.6515 | 0.75951 | 1.06 | 24.0405 | 77.3842 | 9.1967 | 711.954
2026-06-20 | 1.71 | 2.1143 | 1.1924 | 0 | 0 | -0.00073504 | 0 | 0 | 0 | 1.71 | 0 | 0 | 0 | 1.18 | 1.5242 | 0.67241 | 1.06 | 25.1305 | 78.0088 | 9.0324 | 707.9653
2026-06-21 | 1.65 | 2.1456 | 1.0845 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65 | 0 | 0 | 0 | 1.12 | 1.5641 | 0.53248 | 1.07 | 25.1805 | 77.2132 | 9.8001 | 388.6774
2026-06-22 | 1.55 | 2.0499 | 0.89836 | 0 | 0 | 0 | 0 | 0 | 0 | 1.55 | 0 | 0 | 0 | 1.01 | 1.4694 | 0.44139 | 1.07 | 25.3805 | 77.8603 | 10.0248 | 332.1831
2026-06-23 | 1.53 | 1.9581 | 0.9893 | 0 | 0 | 0 | 0 | 0 | 0 | 1.53 | 0 | 0 | 0 | 1.01 | 1.3994 | 0.48522 | 1.09 | 24.9105 | 75.4335 | 10.2672 | 634.857
2026-06-24 | 1.49 | 2.5894 | 0 | 0 | 0 | 0 | 0 | 0.95281 | 0 | 1.49 | 0 | 0 | 0 | 0.95 | 1.3953 | 0 | 1.09 | 24.1905 | 76.4326 | 9.2236 | 702.7836
2026-06-25 | 1.58 | 2.609 | 0.96839 | 0 | 0 | -0.00064921 | 0 | 0 | 0 | 1.58 | 0 | 0 | 0 | 1.05 | 2.0403 | 0.4237 | 1.1 | 24.3505 | 74.7172 | 8.6525 | 751.7971
2026-06-26 | 1.47 | 1.8751 | 0.59302 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47 | 0 | 0 | 0 | 0.94 | 1.3305 | 0.26199 | 1.1 | 22.8504 | 75.9076 | 9.0308 | 718.0822
2026-06-27 | 1.5 | 1.906 | 0.73183 | 0 | 0 | -0.00067067 | 0 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0.97 | 1.339 | 0.43636 | 1.09 | 22.6804 | 74.887 | 10.2291 | 640.8976
2026-06-28 | 1.54 | 2.028 | 0.75876 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54 | 0 | 0 | 0 | 1.01 | 1.4405 | 0.42149 | 1.1 | 22.3604 | 74.0119 | 10.4855 | 632.5166
2026-06-29 | 1.49 | 1.8491 | 0.48335 | 0 | 0 | -0.00059533 | 0 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0.96 | 1.2474 | 0.25773 | 1.1 | 22.3804 | 75.1891 | 10.1826 | 637.8821
06-31-2026 | 1.76 | 2.2099 | 1.2583 | 0 | 0 | -0.00047207 | 0 | 0 | 0 | 1.76 | 0 | 0 | 0 | 1.23 | 1.8742 | 0.26945 | 0.99 | 24.4405 | 83.5409 | 9.3462 | 639.6073

## July
Process Analysis - Flow Totals in MGD | [19 empty] | Odor Scrubber
[18 empty] | Kgal | Kgal
| Influent 16" |  |  | Influent 12" |  |  | Influent 8" |  |  | Influent | Influent Area Velocity |  |  | Effluent |  |  | RAS | WAS | Hingham | pH | ORP
Date | Total | Max | Min | Total | Max | Min | Total | Max | Min | All Flows | Total | Max | Min | Total | Max | Min | Total | Total | Total | Avg | Avg
2026-07-01 | 1.49 | 1.8232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.49 | 0 | 0 | 0 | 0.94 | 1.2379 | 0 | 1.09 | 23.1304 | 79.7443 | 8.2921 | 710.1048
2026-07-02 | 1.51 | 1.7988 | 0 | 0 | 0 | -0.00074029 | 0 | 0 | 0 | 1.51 | 0 | 0 | 0 | 0.98 | 1.2333 | 0.56063 | 1.09 | 23.0804 | 73.5922 | 8.1197 | 681.7126
2026-07-03 | 1.58 | 2.292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.58 | 0 | 0 | 0 | 1.04 | 1.4992 | 0.57385 | 1.06 | 22.5404 | 75.5131 | 7.988 | 600.0799
2026-07-04 | 1.72 | 2.2947 | 1.106 | 0 | 0 | 0 | 0 | 0 | 0 | 1.72 | 0 | 0 | 0 | 1.18 | 1.7458 | 0.65343 | 1 | 22.7404 | 73.5015 | 7.8487 | 457.1058
2026-07-05 | 1.68 | 2.165 | 1.0043 | 0 | 0 | -0.00093198 | 0 | 0 | 0 | 1.68 | 0 | 0 | 0 | 1.14 | 1.5261 | 0.65037 | 1 | 23.6404 | 72.1094 | 8.3073 | 101.6687
2026-07-06 | 1.48 | 1.902 | 0.66379 | 0 | 0 | -0.00077248 | 0 | 0 | 0 | 1.48 | 0 | 0 | 0 | 0.95 | 1.2855 | 0.30473 | 1.01 | 25.2605 | 73.1977 | 9.5637 | 426.2914
2026-07-07 | 1.66 | 2.881 | 0 | 0 | 0 | -0.00075293 | 0.17 | 0.94501 | 0 | 1.83 | 0 | 0 | 0 | 1.29 | 5.1239 | 0.31937 | 1.03 | 26.1305 | 80.1622 | 10.0295 | 267.648
2026-07-08 | 1.94 | 2.397 | 1.1427 | 0 | 0 | -0.00069928 | 0.07 | 0.91138 | 0 | 2.01 | 0 | 0 | 0 | 1.48 | 2.2948 | 0.7343 | 0.99 | 25.9005 | 81.3214 | 10.4488 | 74.9744
2026-07-09 | 1.78 | 2.3678 | 0 | 0 | 0 | -0.00071526 | 0 | 0 | 0 | 1.78 | 0 | 0 | 0 | 1.23 | 1.8048 | 0 | 1.03 | 24.7405 | 76.7172 | 10.6618 | 155.5275
2026-07-10 | 1.76 | 2.4287 | 0.87965 | 0 | 0 | -0.0007205 | 0 | 0 | 0 | 1.76 | 0 | 0 | 0 | 1.22 | 1.8662 | 0.57985 | 1.02 | 25.1505 | 75.1304 | 10.2554 | 473.2404
2026-07-11 | 1.75 | 2.5797 | 0.99125 | 0 | 0 | 0 | 0 | 0 | 0 | 1.75 | 0 | 0 | 0 | 1.22 | 1.9954 | 0.53314 | 1.02 | 26.6405 | 71.7444 | 10.1338 | 257.2266
2026-07-12 | 1.79 | 2.523 | 0.95807 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79 | 0 | 0 | 0 | 1.24 | 1.9328 | 0.60011 | 1 | 26.6905 | 73.9954 | 9.8871 | -201.1963
2026-07-13 | 1.73 | 2.5509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.73 | 0 | 0 | 0 | 1.19 | 1.9631 | 0.27493 | 1.01 | 26.4905 | 78.2429 | 9.6168 | 29.9151
2026-07-14 | 1.75 | 2.434 | 0.58187 | 0 | 0 | -0.00069928 | 0 | 0 | 0 | 1.75 | 0 | 0 | 0 | 1.22 | 1.8675 | 0.35667 | 1 | 26.1705 | 79.4187 | 9.6743 | 388.4692
2026-07-15 | 1.81 | 2.3943 | 0.81461 | 0 | 0 | 0 | 0 | 0 | 0 | 1.81 | 0 | 0 | 0 | 1.27 | 1.841 | 0.3919 | 0.98 | 26.0005 | 72.2055 | 9.8499 | 361.7937
2026-07-16 | 1.88 | 2.4015 | 1.0283 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | 0 | 1.34 | 1.8416 | 0.60646 | 1 | 28.6106 | 73.9459 | 10.0505 | 357.2348
2026-07-30 | 1.41 | 2.6615 | 0 | 0 | 0 | 0 | 0.04 | 0.9145 | 0 | 1.45 | 0 | 0 | 0 | 0.94 | 4.8053 | 0 | 1.07 | 22.8104 | 78.1726 | 8.7098 | 683.9349